Dual-Functional Orthopedic Implants based on Al2O3-CuO/Ti Nanocomposite: Antimicrobial and Osteogenic Properties

H. Bayat1, P. Sangpour1, M. Heydari1*, L. Nikzad2

1 Department of Nano Technology and Advanced Materials, Materials and Energy Research Center, Karaj, Iran

2 Department of Ceramic, Materials and Energy Research Center, Karaj, Iran

Abstract

In this study, the antimicrobial activity, bioactivity, and in vitro cytotoxicity of copper oxide–aluminum oxide (CuO–Al₂O₃) nanocomposites with two different morphologies of copper oxide (spherical-sCuO and nanoplate-pCuO), which was made using the spark plasma sintering (SPS) process on a titanium substrate as an orthopedic implant were investigated for potential application as coatings on orthopedic implants. Two different weight percents of copper oxide nanostructures of sCuO-NP (10 wt%, 20 wt%) and pCuO-NP (10 wt%, 20 wt%) have been used in this research. Synthesized nanocomposites were characterized by X-ray diffraction (XRD), X-ray photoelectron spectroscopy (XPS), Fourier transform infrared spectroscopy (FTIR), and Field emission scanning electron microscope (FESEM). Based on the obtained results, the XRD pattern and XPS confirmed that the nanocomposites were successfully synthesized without impurity. FESEM images showed that CuO nanoparticles and nanoplates were distributed on the alumina matrix homogeneously. The antibacterial activity of synthesized nanocomposites was investigated using Escherichia coli (E. coli) and Staphylococcus aureus (S. aureus), gram-negative and gram-positive bacteria, respectively. Antibacterial activity results demonstrated that CuO nanoparticles had high antibacterial activity, and the effect of CuO nanostuctures depended not only on their morphology and size, but also on the type of microorganisms. Furthermore nanocomposite with nanoplate copper oxide exhibited more bioactivity properties than the spherical shape. S. aureus showed greater resistance to CuO nanostructure, E. coli showed a higher susceptibility, with an inhibition rate of up to 15%. In addition, toxicity tests showed that nanoplate morphology enhances both bioactivity and antibacterial efficacy. These findings highlight the critical influence of CuO morphology on the functional properties of nanocomposite coatings, offering valuable insights for the rational design of next-generation antimicrobial orthopedic implants.

Keywords: Nanocomposite, CuO, Alumina, SPS, Antibacterial Properties

Introduction

Titanium and its numerous alloys are extensively used in the area of orthopedic implants due to their outstanding mechanical characteristics, high corrosion resistance, and their biocompatibility [1]. Ti and Ti alloy still lack in their antibacterial capabilities and ability to promote bone growth. Therefore, further research is needed to improve these functional aspects for enhanced clinical performance [2].

Despite considerable advancements in healthcare, the risk of surgical site infection remains substantial, with a worldwide infection rate of 1–2% in orthopedic sugeries [3]. These infections often originate when bacteria adhere to implants and form biofilms, which shield them from the  immune system. Upon exposure to air, titanium forms a thin, passive titania (TiO₂) layer on its surface, which is responsible for its bioinert properties. This constitutes a major medical challenge, requiring costly and complex clinical interventions that is being addressed through innovative treatment approaches utilizing nanomaterials and nanocomposites [4].

Nanocomposites combine the advantageous properties of nanomaterials, including chemical resistance, high conductivity, biocompatibility, and elasticity. Nanocomposites are highly active nanostructures that provide unique property combinations and broad engineering applications. Their rapid growth and reactivity on different surfaces make them highly valuable for various biological applications [5], such as antibacterial properties and biocompatibility-related functions. Recently, several reports have focused on metal oxides, including aluminum oxide (Al2O3), copper oxide (CuO), and nickel oxide (NiO). In addition, increasing emphasis has been placed on the potential of copper oxide in various applications, such as for its antibacterial properties [6,7].

The crystalline phases α-Al₂O₃, β-Al₂O₃, and γ-Al₂O₃ are common structural forms of aluminum oxide. α-Al₂O₃ is the thermodynamically stable phase of alumina under standard conditions. Aluminum oxide nanoparticles (Al2O3 NPs) are of significant interest for biomedical applications, particularly as antibacterial agents. There is limited data on the mechanisms underlying their action on microbial growth [8]. The bacteriostatic mechanism is attributed to two primary factors: electrostatic interactions with the bacterial membrane/cell wall and the formation of aluminum cations (Al³⁺) that catalyze the production of reactive oxygen species (ROS).

The interaction of Al3+ with cell membrane phospholipids leads to various structural and functional disorders, including direct interaction with proteins, leading to the creation of ion channels, receptors, and enzymes. Additionally, Al3+ induces structural changes in the lipid membrane and affects the activity at the lipid/protein interface [9,10].

Pakrashi et al. [11] reported greater antibacterial activity of the α-phase of aluminum oxide compared to γ-aluminum oxide against Bacillus licheniformis after a two-hour exposure to aluminium oxide. This was evident in a higher content of ROS after exposure to α-Al2O3 (2.6 ± 0.02%) compared to γ-Al2O3 (0.6 ± 0.003%) at an AlOxNP concentration of 5 µg/mL [11]. The toxicity of alumina nanoparticles has been studied over past decades, but due to the physical and chemical complexity and the lack of control in a microcosm, it is difficult to draw definitive conclusions from dynamic studies. Therefore, nanomaterials may not exhibit the expected toxic response at low concentrations over extended periods [12].

Among the various different types of metal oxides, copper oxide (CuO) is a p-type semiconductor with a narrow bandgap, exhibiting outstanding electrochemical, catalytic, photocatalytic, and antibacterial properties [13]. CuO nanoparticles can be synthesized via numerous methods, including hydrothermal, solvothermal, thermal oxidation, sonochemical, and microwave irradiation techniques [14]. Recent efforts have focused on creating synthecized CuO nanostructure morphology to improve its functional efficacy [15]. Similar to other metal oxides, the primary antibacterial mechanisms of CuO involve electrostatic interactions with bacterial outer membrane/cell wall and ROS generation [16,17]. Studies indicate that nanoparticles with different sizes, shapes, compositions, and surface charges exhibit varying antibacterial properties due to differences in their ability to generate ROS [18]. Shima Tavakoli et al. demonstrated that the antibacterial effect of CuO nanoparticles is dependent on both microbial species and nanoparticle morphology [19].

Different techniques have been introduced to coat the ceramics on a metal implant surface. The spark plasma sintering (SPS) technique has emerged as a revolutionary method for advanced material synthesis and coating technologies. SPS offers distinct advantages over conventional sintering processes, including rapid sintering cycles, lower temperatures, and enhanced material densification while preserving nanostructural features [20, 21]. Christophe Tenailleau et al.  develpoed a dense copper/zinc oxide nanocomposite using the SPS method within a short heat treatment period under high pressure [22]. The application of SPS in the present study provides a dual advantage of antimicrobial efficacy and osteogenic potential. By leveraging SPS’s ability to retain nanoparticle morphology and create highly adherent, uniform coatings, the research highlights a promising pathway for developing next-generation orthopedic implants.

In addition, the simultaneous sintering and bonding of copper oxide and alumina may enhance antibacterial activity and bioactivity due to synergistic interactions between the materials. Such effects are rarely achievable through traditional coating methods. Furthermore, the methodology emphasizes the role of nanocomposite morphology —a topic underexplored in the current literature—thereby contributing novel perspectives to the field of biomedical material science.

Therfore, this study hypothesizes that the morphology of CuO nanostructures (spherical vs. nanoplate) within an Al₂O₃ matrix will significantly influence the antibacterial efficacy, cytotoxicity, and bioactivity of the resulting nanocomposite coating.

2. Experimental

2.1. Materials and Methods

Industrial pure Ti grade II were cut into pieces of 15 mm × 5 mm. Ti wafers were base with different size of the metallographic sandpaper, polished and ultrasonically cleaned in ethanol. α-Al2O3  and spherical CuO (sCuO-NP) were purchased from US-Research Nanomaterials; average particle size of the powders were around 150 nm and 50 nm, respectively, Fig. 1 (a,c).

Fig. 1. FESEM images of raw material: a) Spherical shape of copper oxide (sCuO), b) homemade synthesized nanoplate of copper oxide (pCuO), and c) Alumina (α-Al2O3).

2.2 Synthesis of CuO nanoplates

Copper (II) sulfate pentahydrate (CuSO4.5H2O) was purchased from MERCK as precursor for synthesis of CuO nanoplates (pCuO). The solution of CuSO4.5H2O (0.1 M) was prepared in 100 ml distilled water. The NaOH solution (1 M) was added drop by drop until the pH amount of reactants increased to 13 .

The solution was next transferred into a Teflon-lined sealed stainless steel hydrothermal autoclave and maintained at a constant temperature of 100°C for 18 hours under autogenous pressure. Then it was cooled to room temperature. The sediment then obtained is placed in a furnace and annealed in air at 40°C for 48 hour. Scheme 2 shows schematic of  synthesis of CuO nanoplates process.

Fig. 2. Schematic of synthesis of CuO nanoplates process.

2.3 Deposition of nanocomposite thin films

In order to prepare nanocomposite thin films, α-Al2O3 powders and 4 grams of CuO nanocomposite (sCuO-NP (10 wt%, 20 wt%) and pCuO-NP (10 wt%, 20 wt%)) were weighed using a digital scale and then mixed with zirconium balls using a SPEX (8000D Mixer/Mill, USA) shaker mill for 15 min. The resulting powders were coated onto a commercially pure titanium substrate using SPS method. Table 1 shows the SPS parameters.

Table 1. SPS parameters.

| Current | 0.77 A |
| --- | --- |
| Vacuum chamber | 30 MPa |
| Pressure | 40 MPa |
| Temperature | 1000 ℃ |

2.4. Characterization

Synthesized nanocomposites were characterized using FESEM (MIRA3, TESCAN-XMU, Czech Republic) to investigate morphology, cross-section, size of NPs. In order to investigate elemental composition of nanocomposite, X-ray diffraction (XRD) was carried out using Philips PW3710 Cu Kα (at 45 kv, 30 mA, scanning speed:2 2θ minute−1, step size: 0.02, step time: 0.5 s). The patterns were analyzed using X`Pert High Score software. The X-ray photoelectron spectrometer (XPS - Al Kα anode) was used to investigate the chemical bonds present in the nanocomposites. XPS at energy of 1486.6 eV was employed to investigate the surface atomic composition, and chemical state. Fourier transform infrared (FTIR) spectroscopy (LR 64912C, Perkin Elmer) was used to analyze the different functional groups of the adsorbent through the KBr pellet method.

2.5. Antibacterial activity

Escherichia coli (E. coli) ATCC 25922 (Gram-negative bacteria) and Staphylococcus aureus (S. aureus) ATCC 45500 (Gram-positive bacteria) were utilized for measuring the effect of antibacterial properties of pure and coated titanium by unit colony formation (CFU) method. E. coli and S. aureus bacteria were initially cultured in Luria-Bertani (LB) agar medium, which consisted of 10 g/L peptone, 5 g/L yeast extract, 5 g/L NaCl, and incubated at 37°C for 18 hours. The suspension was prepared from the freshly grown culture in sterile physiological serum to achieve a concentration of 0.5 Mac Farland (1.5 x 10^8 cfu/ml), resulting in 1.5 x 10^6 cfu/ml. All samples and control were incubated in sterile flasks with the suspension at 37°C and 160 rpm for 24 hours. Blank suspension served as control. It is noteworthy that the samples had been autoclaved for sterilization before incubation. The samples from flasks were serially diluted in sterile physiological serum to prepare dilutions of 10^-1, 10^-2, 10^-3, 10^-4, and 10^-5. From each dilution, 10 and 100 microliters were transferred to petri dishes with solid culture medium to determine the optimal dilution for colony counting. Each sample was repeated three times, and the plates were incubated at 37°C for 48 hours. The number of colonies formed was counted, and the percentage of antibacterial activity was calculated using the Eq (1) [23].

R=(B-A)/B×100                                                                                                                           (1)

Where R: is inhibition rate, A: is the number of colonies counted in the sample, and B: is number of bacteria counted in the control sample.

2.6. Cytotoxicity test

The assessment of the samples' potential toxicity was carried out through the utilization of  dimethylthiazol-2 and 5-diphenyltetrazolium bromide (MTT) methodology on a mouse fibroblast cell lineage known as L-929. In this method, the viability of cells was assessed to determine the compatibility of the desired product. 3 cm² specimens of each implant material—namely, 10% CuO rod, 10% CuO spherical, 20% CuO rod, and 10% CuO rod were placed under sterile conditions into falcon tubes. One milliliter of complete DMEM culture medium was then added to each sample, and the mixtures were incubated for 24 ± 2 hours under standard cell culture conditions. It should be noted that to prepare extracts from solid materials, flat and uniform surfaces of the specimens were ensured. Following the incubation period, the extracts were filtered through a 0.22-μm filter to guarantee sterility and prevent microbial contamination during subsequent cell-based assays. For each substance, the cell viability was determined by the formation of formazan color through the reduction of the compound MTT or other tetrazolium salts. Briefly, approximately 10,000 cells of the selected cell line were seeded into each well of a 96-well plate and allowed to adhere for 24 hours in a humidified incubator at 37 °C with 5% CO2. Thereafter, the culture medium in each well was replaced with fresh medium containing the respective implant extract at predetermined concentrations, and the cells were further incubated for a defined period. At the end of the treatment, the medium was removed, and 100 μL of MTT solution (typically 0.5 mg/mL in culture medium) was added to each well. The plates were then incubated for 3 hours in the dark under standard culture conditions to allow the formation of formazan crystals. Subsequently, the MTT-containing medium was carefully aspirated, and 100 μL of dimethyl sulfoxide (DMSO) was added to each well to solubilize the formazan crystals. The plates were gently shaken to ensure complete dissolution. The vertical axis represents the percentage of viable cells relative to the untreated control group. In this representative dataset, cell viability decreased with increasing concentrations of the implant extract, indicating a dose-dependent cytotoxic effect. All experiments were performed in triplicate to ensure reproducibility. Mitochondrial enzymes in living cells cleaved the tetrazolium ring, resulting in the formation of soluble purple formazan crystals. The presence of these crystals indicates the activity of limited enzymes and the quality of cell survival in the test sample. Finally, the percentage of surviving cells could be determined by measuring the absorbance at a wavelength of 570 nm using the ELlSA reader (Model: ELx808, BioTek, USA).

2.7. Bioactivity test

The osteogenic potential of the nanocomposite coatings was evaluated through immersion in Simulated Body Fluid (SBF) using Kokubo's method [24] for 28 days at 36.5℃ according to ISO 23317 standard [25]. Over a 28-day period, Throughout this period, the pH of the SBF solution was checked every 48 hours and then the solution was replaced with fresh solution, which was added to the falcon for all samples. Each sample required 10 cm3 of solution, determined by the formula Eq.(2):

SA/V=0.1𝑐𝑚 −1             			                                                                               (2)

Where SA represents the sample's surface area in cm2 and V is the necessary solution volume in cm3. Afterward, the samples were rinsed with distilled water and dried in the ambient temperature or lab environment.

3. Results and discussion

3.1. Microstructural analysis of the precursor and  nanocomposite films

The X-ray diffraction spectra for nanocomposite film containing CuO with different morphology are displayed in Fig. 3. Detailed information regarding the compound name, chemical formula, and reference card number for each phase can be found in Table 2. As can be seen, the peaks of pure materials (CuO and Al2O3) are detectable for films with nanoplate CuO, but for films with spheriacl CuO, copper oxide (CuO) was reduced to Cu2O, because of instablity of sol-gel nanaoparticles at high temperature (the purchased CuO nanosphere is made by the sol-gel method). Films containing CuO nanoplate were synthesized by hydrothermal more stability is observed [26, 27].

Fig. 3. XRD pattern of SPS nanocomposite.

Table 2: The names of the compounds, their chemical formulas, and reference card numbers for the phases shown in Fig. 3

| Reference Card Number | Compound Name | Chemical Formula |
| --- | --- | --- |
| 96-900-9683 | Alpha-Alumina (Corundum) | α-Al2O3 |
| 96-101-1149 | Tenorite | CuO |
| 96-900-7498 | Cuprite | Cu2O |

Fig. 4. FESEM images of nanocomposite films containing: a) 10%wt sCuO, b) 20%wt sCuO, c) 10%wt pCuO, d) 20%wt pCuO.

Fig. 4 shows FESEM image of spark plasma sintered 10%wt sCuO, 20%wt sCuO, 10%wt pCuO, and 20%wt pCuO. There are three areas: 1) dark grey, 2) light white, and 3) the dark area. The light white areas indicate the presence of the copper oxide phase, while the dark gray areas are associated with the alumina phase. The dark areas in the images suggest the existence of porosity. Unlike conventional sintering techniques that often degrade nanoparticle morphology, SPS preserved the unique shapes of spherical (sCuO) and nanoplate (pCuO) CuO structures. This preservation was crucial for showcasing morphology-dependent antibacterial and bioactivity outcomes

The high-pressure environment and rapid heating of SPS enabled strong adhesion of the nanocomposite coatings to titanium substrates, as evidenced by FESEM cross-sectional analyses. The absence of cracks and uniform coating thickness (~260±20 μm) underscore the method's reliability for biomedical applications. Fig. 5 shows cross-section FESEM images of the sample.

Fig. 5. FESEM images of cross-section films containing: a) 10%wt sCuO, b) 20%wt sCuO, c) 10%wt pCuO, and d) 20%wt pCuO.

Fig. 6. presents map analysis of cross-section films (20%wt pCuO, 20%wt sCuO) which indicates a nearly uniform distribution of elements in the entire coating.  This homogeneous distribution demonstrates that the powder mixture prepared by high-energy ball milling was well-mixed, with no visible agglomeration or inhomogeneity has almost the same distribution of elements, which shows that the powder mixed by the high-energy ball mill was well mixed and has a uniform distribution, with no visible agglomeration or in-homogeneity.

Fig. 6. Map analysis of cross-section films; a) Oxygen, b) Aluminum, c) Copper, d) Titanium, e) 20%wt sCuO, and f) 20%wt pCuO.

Fig. 7 illustrates the result of energy dispersive X-ray (EDS) analysis. The results confirm the presence of copper, aluminum, and oxygen elements. Additionally, it indicates nanocomposite film containing spherical copper oxide lost oxygen during coating which was confirmed by our XPS results.

Fig. 7. EDS of film a) 20%wt p CuO, and b) 20%wt s CuO.

XPS analysis was employed  to examine the elemental surface chemical composition of a 20%wt sCuO and pCuO nanocomposite. The XPS spectra for the nanocomposites are shown in Fig. 8. Based on the survey spectrum of 20% wt sCuO and 20% wt pCuO (Fig. 8a), the peaks of Al (2p), Cu (2p), and O (1 s) suggest the existence of copper oxide, carbon, aluminum oxide, and oxygen elements in the nanocomposite, respectively. There is no peak corresponding to impurity elements in the XPS spectrum. The Al (2p) window is displayed in Fig. 8b; the main peak is at 74.8 eV and can be de-convoluted by a doublet peak (Al 2p3/2: 74.2 eV, Al 2p1/2: 75.3 eV), indicating the existence of O-Al-O bonds [23, 24]. Representation of O(1s) showing the peak position of O2- phase at 530.08±0.1eV and the 1s peak of oxygen vacancy (VO) / adsorbed O0 phase at 531.49±0.1eV. A peak at Ε = 1.3-1.4 eV, higher in energy than the main O1s (532.98) peak (Fig. 8c), is assigned to the Al-OH species. The existence of these species aligns with the Trimethylaluminium (TMA) and H2O chemistry. De-convoluted XPS spectra of Cu 2p3/2 and Cu 2p1/2 peaks appear in Fig. 8.(d,e). The XPS peak fitting revealed the Cu2p3/2 peak displaying notable emissions of Cu2+ at 933.80±0.1eV and Cu+ at 935.30±0.1 and 934.65eV, indicating the presence of Cu+ in the 934.65 peak of the pCuO sample (Fig. 6d), associated with Cu-O bonding. In Fig. 6e, the sCuO sample window depicted, with the main peak showing two distinct peaks: 935.30 related to Cu+ and Cu-O bonding, also 933.80 related to Cu2+ and Cu2-O bonding. Based on XPS results, the copper oxide structure (sCuO) wasn't fully converted to Cu2O during coating. The weight percentages of CuO and Cu2O in surface are 64.7 and 35.3, respectively. The distinction between XRD and XPS interpretations is due to their varying experimental mechanisms [36, 37]. In addition, XRD analysis confirms the formation of a distinct Cu₂O phase in the bulk of the sCuO composite. However, XPS surface analysis reveals a mixed oxidation state, indicating a surface layer comprising both Cu(I) and Cu(II) species.

Fig. 8. (a) XPS survey spectrum of the nanocomposite.; high-resolution core-level XPS windows spectra of: (b) Al (2p) (c) O (1 s), (d) Cu(2p) for pCuO and (e) Cu(2p) for sCuO.

The FTIR results showed that both pCuO-NP and sCuO-NP spectra had multiple peaks of functional groups (Fig. 9). The observed peaks indicated at 1088 cm-1 is associated with CO stretching and 1614 cm-1 corresponded to the stretching and bending vibrations of O-H in absorbed water. The characteristic peaks at 615 cm-1 and 588 cm-1 is attributed to displayed the formation of CuO/Al₂O₃ nanocomposite. The bands observed at 662 cm−1 and 709 cm−1 corresponded to the stretching vibration of the Al-O bond. Finally, the absorption peaks observed from 446 cm-1 and 588 cm-1 correspond to the stretching vibrations of Cu-O bonds.

Fig. 9. FTIR spectra of 20%wt pCuO-NP and 20%wt sCuO-NP.

3.4. Antibacterial activity

Antibacterial activities of synthesized nanocomposite against E.coli and S.aureus bacteria (for 12 h at 37◦C) were investigated using the colony-counting method (Eq. (1)). Fig. 10 (a,b) illustrates images of agar and control sample containing no antibacterial agent in the E. coli and S. aureus culture medium.  At first, the antibacterial activity of the base metal (titanium) were investigated. Generally pure Titanium metal itself does not have significant antibacterial properties. Wei Jiang [28] while researching Al2O3 nanoparticles exhibited mortality rates of 57% for Bacillus subtilis (B. subtilis), 36% for E. coli, and 70% for Pseudomonas fluorescens (P. fluorescens). Based on  Fig. 11, it can be seen that the incorporation of nano copper oxide and alumina effectively increases the antibacterial property which is lead to synergistic  effects of combination copper oxide with alumina. The remarkable antibacterial activity of pCuO samples was previously reported to be due to an increase in surface area, which increased bacterial interactions [29]. According to our results (Fig. 11) and pervious studies the antibacterial effect of CuO-NPs depends not only on their morphology and size, but also on the type of microorganism, S. aureus showed greater resistance to CuO-NP, while E. coli was more susceptible to them [30]. Luz E.Roman [31] believed that CuO nanoparticles bound to the bacterial cell wall dissolve, and CuO2+ ions are transfected into the cytoplasm membrane. The layer on the outer membrane of E. coli  bacteria which name is Lipoteichoic acid contains large amounts of negatively charged lipopolysaccharides that may supply attachment parts for CuO nanoparticles. However, studies are required to make clear the mechanisms behind these morphology effects. Also, as the FESEM results showed, the dispersion of pCuO is greater than sCuO on the surface, and on the other hand, their large surface area resulted in greater bacterial adsorption and, as a result, greater activity on the bacterial membrane.

Fig. 10. Antibacterial test images of agar: a) E.coli, b) S.aureus and Blank after 12 h of contact with E. coli at 37 ◦C.

Fig. 11. The antibacterial activity test after 12 h of contact with a) E. coli and b) S. aureus at 37℃.

3.5. Cytotoxicity test

The effect of all samples on cell viability obtained according to the following relationship:

Viability = ODC/ODR                                                                                                               (3)

The optical density of films and control samples are represented by ODC and ODR, respectively. The cell viability percentage of sCuO-NP (10, 20 %wt) and pCuO-NP (10, 20 %wt) films presented in Table 3 and Fig. 12. Normally Al2O3 nanoparticle exhibited non-toxic impact at the concentration of 500 μg/mL and lower, thus cytotoxicity was influenced by concentration, exposure time, and cell type [32]. It has been shown in various studies that the direct contact of nano copper oxide with cells leads to cell death. Also, Luz E [31] determined during research that the use of nano copper oxide particles in the equipment and clothes of health centers can improve health, and help to removing Healthcare-Associated Infections (HAIs), and it is non-toxic to human skin, because it does not have direct contact with our cells. Hossein Alishah [33] reported the effect of nano copper oxide during the MTT assay on cancer cells (MCF-7), which indicated the highest anti-cancer activity at a concentration of 160 µg/ml, therefore like our results, cell viability decreased as the concentration of copper oxide nanoparticles increased (dose-dependent). According to the results obtained, it can be understood that sCuO-NP are less toxic than pCuO-NP.  Nanoplate copper oxide due to their high surface reactivity exhibited greater toxicity compared to spherical nanoparticles. Generally, previous studies reported kind of mechanisms of nano-copper oxide effect on cells and their interactions with each other, but the main was that Cu2+ release from CuO-NPs caused toxic effects by generating ROS and damaging cellular DNA [34]. Our results indicated that the synthesized composites exhibited cytotoxicity under the tested conditions, highlighting a focus on dose-dependent and morphology-dependent toxicity rather than on surpassing a specific biocompatibility threshold. Two nanocomposites containing 20 wt% copper oxide nanoplates demonstrated enhanced bioactivity and antibacterial efficacy.

Table 3: Cell viability percentage of control, 10 and 20% pCuO and sCuO.

| Sampels | Average OD | Average control | Viability (%) |
| --- | --- | --- | --- |
| 10%wt pCuO | 0.084 | 0.470666667 | 17.91785 |
| 20%wt pCuO | 0.072 | 0.470666667 | 15.36827 |
| 10%wt sCuO | 0.097 | 0.470666667 | 20.60907 |
| 20%wt sCuO | 0.080 | 0.470666667 | 17.06799 |
| Positive Control | 0.082 | 0.470666667 | 17.4221 |
| Negative Control | 0.470 | 0.470666667 | 100 |

Fig. 12. The Cells viability percentage comparison of nanocomposites.

3.5. Bioactivity test

Based on our results, 20% wt sCuO and pCuO exhibited higher antibacterial activity compared to the other samples. Therefore, it was selected as the optimum nanocomposite, and bioactivity assay was carried out on it. The ramps between each time point showed the increase in pH due to the release of ions from the nanocomposites into the solution. The pH drop noted every 48 hours resulted from the complete solution replacement, simulating fluid recirculation under physiological conditions. No pH-related toxicity issues were predicted since the maximum pH reached during soaking was approximately 7.7 for both samples (Fig. 13). This slight increase in pH may even enhance osteoblast activity, which is often boosted in a mildly alkaline environment.

Fig. 13. pH variation over immersion time in SBF.

In vitro bioactivity experiment in SBF indicated that the nanofilms effectively form Hydroxyapatite (HA). After 14 days of immersion, the surface appears to be covered by a thin layer of HA; Surface changes were evident (Fig. 14a,b). After 28 days, the surface of the both samples appeared to be completely covered by a homogeneous layer of  HA (Fig. 14c,d). The formation of a HA layer on biomaterial surfaces is critical for interfacial bonding with bone post-implantation, as osteoblasts adhere to and proliferate on this calcium-phosphate layer, facilitating new bone production [49].

Semi-quantitative EDS analyses of the nanofilms surfaces after soaking in SBF for 14 and 28 days submited Ca/P molar ratios of 1.61 ± 0.04 and 1.59 ± 0.05 (calculated on three sites) for 20%wt pCuO and sCuO samples, respectively. These values are near the stoichiometric HA (1.67), indicating an advanced stage of the sample surface's conversion to HA. EDS analysis revealed that the Al and Cu peak decrease after 14 days immersion in SBF (Fig.14.e,f), while the peaks of Ca and P are clearly visible after 28 days (Fig. 14.g), This indicates that the nanofilm surface was fully covered by a thick layer of calcium phosphate.

As additional evidence of the good HA-forming ability of the nanofilm, XRD analyses were carried out on 20%wt sCuO and 20%wt pCuO samples immersed up to 28 days in SBF (Fig. 15). The analysis showed that the diffraction peaks indicating the HA crystalline phase were almost visible after 28 days of immersion in SBF. A major peak was observed at approximately 32° (211), indicating the main reflection of HA. Additionally, the other major HA peak  emerged at 26.2° (002), corresponding to the reflection of HA. In comparison of two different morphology of copper oxide and based on the number of peaks in X-ray analysis (Fig. 15), it can be inferred that the quantity of apatite formed in the nanoplate structure exceeds that of its spherical shape.

Fig. 14. FESEM micrographs of the surface of 20%wt sCuO (a,c) and 20%wt pCuO (b,d) nanofilms after immersion in SBF for14 and 28 days; EDS spectrum of the newly formed surface layer on both sample after 14 and 28 days in SBF (e,f,g).

Fig. 15. XRD pattern of  nanocomposite after 28 days immersed in SBF solution.

Table 4 : compounds, chemical formulas, and reference card numbers for the phases shown in Fig. 14.

| Reference card number | Compound name | Chemical Formula |
| --- | --- | --- |
| 96-101-1243 | Hydroxyapatite | Ca5(PO4)3OH |

Therefore, the formation of hydroxyapatite (HA) layers was observed, demonstrating the material's ability to support bone regeneration. Nanoplates exhibited superior HA formation compared to spherical CuO, as confirmed by XRD and EDS analyses, with prominent peaks indicating well-crystallized HA. Also, the main peak of hydroxyapatite is (211) according to the standard card (the standard XRD peaks of hydroxyapatite (based on ICDD 9–432)), which is clearly seen in Figure 15, while it is not seen (very weak peak) in the spectrum of the sample sCuO, which will lead to the conclusion that pCuO has better bioactivity.

Conclusions

Orthopedic implants must simultaneously prevent postoperative infection while promoting osseointegration to ensure long-term stability. To address these issues, we have developed nanocomposite coatings of CuO/Al₂O₃ with distinct CuO morphologies (spherical and nanoplate), deposited on titanium substrates using SPS method. This innovative coating demonstrates antimicrobial efficacy against E. coli and S. aureus while concurrently promoting osteogenic activity, as evidenced confirmed by MTT and SBF assays. XRD, FTIR, and XPS analyses exhibited the successful synthesis of the nanocomposites. The combination of copper oxide and Alumina demonstrated strong antibacterial properties, effectively inhibiting the growth of S. aureus and E. coli, with nanoplate copper oxide proving more effective than its spherical counterpart. MTT results indicate that cell viability decreases as copper oxide concentration increases (dose dependent). Two nanocomposites containing 20% by weight of copper oxide with nanoplate morphologies enhances both bioactivity and antibacterial efficacy.

Acknowledgment

Authors would like to thank Materials and Energy Research Center for financial support of this student project (Grant No. 771401055).

References

[1]  Fatemeh Sajedi Alvar, Mojgan Heydari, Asghar Kazemzadeh, Mohammad Reza Vaezi, Leila Nikzad. “Synthesis and characterization of corrosion-resistant and biocompatible Al2O3–TiB2 nanocomposite films on pure titanium.” Ceramics International 46 (2020) 4215–4221.  DOI:10.1016/j.ceramint.2019.10.140.

[2] Yuan Zhang, Shan Fu, Lei Yang, Gaowu Qin, Erlin Zhang. “A nano-structured TiO2 /CuO/Cu2O coating on Ti-Cu alloy with dual function of antibacterial ability and osteogenic activity.” Journal of Materials Science & Technology 97 (2022) 201–212. DOI:10.1016/j.jmst.2021.04.056.

[3]  Richard Bright, Daniel Fernandes, Jonathan Wood, Dennis Palms, Anouck Burzava, Neethu Ninan, Toby Brown, Dan Barker, Krasimir Vasilev. “Long-term antibacterial properties of a nanostructured titanium alloy surface: An in vitro study”.  Materials Today Bio 13 (2021) 100176-89. DOI: 10.1016/j.mtbio.2021.100176.

[4]  Chouirfa H, Bouloussa H, Migonney V. Falentin-Daudré C. “Review of titanium surface modification techniques and coatings for antibacterial applications.” Acta Biomater

(2019) 37-54.  DOI:10.1016/j.actbio.2018.10.036.

[5] Amal M. Al-Mohaimeed , Gamal A. E. Mostafa, and Maha F. El-Tohamy. “New Construction of Functionalized CuO/Al2O3 Nanocomposite-Based Polymeric Sensor for Potentiometric Estimation of Naltrexone Hydrochloride in Commercial Formulations”. Polymers (Basel) 13 (2021) 4459-78.  DOI:10.3390/polym13244459

[6] Md. Jasim Uddin, Mst. Sarmina Yeasmin , Ali Ahsan Muzahid , Md. Mahmudur Rahman , G.M. Masud Rana, Tahmina Akter Chowdhury, Md. Al-Amin, Md. Kazi Wakib, Sayeda Halima Begum. “Morphostructural studies of pure and mixed metal oxide nanoparticles of Cu with Ni and Zn“. Heliyon 10,  (2024).e 30544. DOI:10.1016/j.heliyon.2024.e30544

[7] Mohsin Ali, Muhammad Ijaz, Muhammad Ikram, Anwar Ul-Hamid, Muhammad Avais & Aftab Ahmad Anjum. “Biogenic Synthesis, Characterization and Antibacterial Potential Evaluation of Copper Oxide Nanoparticles Against Escherichia coli”. Nanoscale Res, Lett 16 (2021), 148-161. DOI:10.1186/s11671-021-03605-z.

[8] Sergey V. Gudkov, Dmitriy E. Burmistrov  , Veronika. Smirnova, Anastasia. Semenov and Andrey B. Lisitsyn. “A Mini Review of Antibacterial Properties of Al2O3 Nanoparticles” Nanomaterials (Basel) 12 (2022), 2635-52 .DOI:10.3390/nano12152635.

[9] Xia, T; Kovochich, M.; Brant, J.; Hotze, M.; Sempf, J.; Oberley, T.; Sioutas, C.; Yeh, J.I.; Wiesner, M.R.; Nel, A.E. “Comparison of the abilities of ambient and manufactured nanoparticles to induce cellular toxicity according to an oxidative stress paradigm.” Nano Lett. (2006) 1794–1807. DOI: 10.1021/nl061025k.

[10] Paolo Zatta , Tamas Kiss , Mario Suwalsky , Guy Berthon. “Aluminium (III) as a promoter of cellular oxidation”. Coordination Chemistry Reviews 228 (2002), 271-284. DOI:10.1016/S0010-8545(02)00074-7.

[11]  Pakrashi, S; Dalai, S; Ritika; Sneha, B.; Chandrasekaran, N.; Mukherjee, A. “A temporal study on fate of Al2O3 nanoparticles in a fresh water microcosm at environmentally relevant low concentrations”. Ecotoxicology and Environmental Safety 84. (2012), 70–77. DOI: 10.1016/j.ecoenv.2012.06.015.

[12]  Arul Prakash F., G. J. Dushendra Babu, M. Lavanya, K. Shenbaga Vidhya and T. Devasena. “Toxicity Studies of Aluminium Oxide Nanoparticles in Cell Lines”. International Journal of Nanotechnology and Applications 5, (2011). 99-107. DOI: 10.1016/j.ecoenv.2011.06. 25.

[13]  M.U. Anu Prathap, Balwinder Kaur, Rajendra Srivastava. “Hydrothermal synthesis of CuO micro-/nanostructures and their applicationsin the oxidative degradation of methylene blue and non-enzymatic sensing of glucose/H2O2”. Journal of Colloid and Interface Science 370 (2012) 144–154. DOI:10.1016/j.jcis.2011.12.074.

[14] Seyed Javad Davarpanah, Ramin Karimian, Vahabodin Goodarzi , Farideh Piri.  “Synthesis of Copper (II) Oxide (CuO) Nanoparticles and Its Application as Gas Sensor”. Journal of Applied Biotechnology Reports 2, (2015). 329-332. DOI10.1021/.3c01155.

[15] Yuanyuan Ma, Hui Wang, Julian Key b, Shan Ji, Weizhong Lv, Rongfang Wang. “Control of CuO nanocrystal morphology from ultrathin “willow-leaf” to “flower-shaped” for increased hydrazine oxidation activity”. Journal of Power Sources 300 (2015 ) 344e350. DOI: 10.1016/j.jpowsour.2015.09.087.

[16] Mojtaba Taran, Maryam Rad, Mehran Alavi. “Antibacterial Activity of Copper Oxide (CuO) Nanoparticles Biosynthesized by Bacillus sp”. Optimization of Experiment Design. 23 (2017) 198-206 . DOI: 10.15171/PS.2017.30

[17] K. J. Arun1, A. K. Batra. Krishna, K. Bhat, M. D. Aggarwal, J. P. Francis. “Surfactant Free Hydrothermal Synthesis of Copper Oxide Nanoparticles”. American Journal of Materials Science 5 2015, 36-38. DOI: 10.5923/s.materials.201502.06

[18]  Surapaneni Meghana, Prachi Kabra, Swati Chakraborty and Nagarajan Padmavathy. “Understanding the pathway of antibacterial activity of copper oxide nanoparticles”. RSC Adv 5, (2015), 12293-12299 .DOI: 10.1039/c4ra12163e.

[19] Shima Tavakoli, Mahshid Kharaziha, Shokouh Ahmadi. Green Synthesis and Morphology Dependent Antibacterial Activity of Copper Oxide Nanoparticles. J Nanostruct 9(1) (2019)163-171 . DOI: 10.22052/JNS.2019.01.018.

[20] Mohammad Abedi , Atefeh Asadi, Stepan Vorotilo, and Alexander S. Mukasyan. “A critical review on spark plasma sintering of copper band its alloys”. Journal of Materials Science 56 (2021) 19739–19766 . DOI:10.1007/s10853-021-06556-z.

[21] Nouari Saheb, Zafar Iqbal, Abdullah Khalil, Abbas Saeed Hakeem, Nasser Al Aqeeli, Tahar Laoui, Amro Al-Qutub, and Ren ́e Kirchner. “park Plasma Sintering of Metals and Metal MatrixNanocomposites: A  Review”. Journal of Nanomaterials 13, (2012), 983470-83, DOI:10.1155/2012/983470.

[22] Christophe Tenailleau, Guillaume Salek, Thi Ly Le, Benjamin Duployer, Jean-Jacques Demai, Pascal Dufour & Sophie Guillemet-Fritsch. “Heterojunction p-Cu2O/ZnO-n solar cell fabricated by spark plasma sintering”. Materials for Renewable and Sustainable Energy 6,(2017) 6-18 . DOI:10.1007/s40243-017-0102-8.

[23] Reza Ahmadi, Raziyeh Fattahi Nafchi, Parvaneh Sangpour, Mozhgan Bagheri, Tohid Rahimi.”Evaluation of antibacterial behavior of in situ grown CuO-GO nanocomposites”. Materials Today Commun 28 (2021), 102642,  DOI:10.1016/J. MTCOMM.2021.102642.

[24] Tadashi Kokubo, Hiroaki.Takadama.”How useful is SBF in predicting in vivo bone bioactivity?”. Biomaterials 27 (15) (2006) 2907–2915,  DOI:10.1016/j.biomaterials.2006.01.017.

[25] International Organization for Standardization. (2007). Implants for surgery — In vitro evaluation for apatite-forming ability of implant materials. ISO/FDIS 23317. https://www.iso.org/standard/65054.html.

[26] Martina Kocijan and Matejka Podlogar. Perspective Chapter: “Modification Engineering of Titanium Dioxide-Based Nanostructured Photocatalysts for Efficient Removal of Pollutants from Water”. Titanium Dioxide - Uses, Applications, and Advances 23 )2024 (1-11. DOI: 10.5772/intechopen.1007375.

[27] Muhammad Hamzah Saleem, Ujala Ejaz, Meththika Vithanage,   Nanthi Bolan &   Kadambot H. M. Siddique. “Synthesis, characterization, and advanced sustainable applications of copper oxide nanoparticles: a review”.  Clean Techn Environ Policy. Mar 13 (2024). DOI:10.1007/s10098-024-02774-6.

[28] Wei Jiang, Hamid Mashayekhi, Baoshan Xing. “Bacterial toxicity comparison between nano- and micro-scaled oxide particles”. Environmental Pollution  157 )2009(1619-25. DOI: 10.1016/j.envpol.2008.12.025.

[29] Lu Xiong, Zhong-Hua Tong, Jie-Jie Chen, Ling-Li Li, Han-Qing Yu. “Morphology-dependent antimicrobial activity of Cu/CuxO nanoparticles”. Ecotoxicology 24 )2015(. 2067-72. DOI: 10.1007/s10646-015-1554-1.

[30] Sharma P, Goyal D, Chudasama B. “Antibacterial activity of colloidal copper nanoparticles against Gram-negative (Escherichia coli and Proteus vulgaris) bacteria”. Lett Appl Microbiol 74(5) (2022); 695-706. Doi: 10.1111/lam.13655.

[31] Luz E. Román. Enrique D. Gomez. José L. Solís  and Mónica M. Gómez. “Antibacterial Cotton Fabric Functionalized with Copper Oxide Nanoparticles”.  Molecules 25( 2020), 5802; DOI:10.3390/molecules25245802.

[32] Alhaji Modu Bukar, Faez Firdaus Abdullah Jesse, Che Azurahanim Che Abdullah, Mustapha M. Noordin, Modu Z. Kyari, Ashreen Norman & Mohd Azmi Mohd-Lila. “In vitro cytotoxicity evaluation of green synthesized alumina nanoscales on different mammalian cell lines”. Sci Rep 14, 22826 (2024) . DOI:10.1038/s41598-024-53204-y.

[33] Hossein Alishah. Shahram Pourseyedi. S. Yousef Ebrahimipour. Saeed Esmaili Mahani3.Nahid Rafiei. “Green synthesis of starch-mediated CuO nanoparticles: preparation, characterization, antimicrobial activities and in vitro MTT assay against MCF-7 cell line”. Rend. Fis. Acc. Lincei 28, (2017) 65–71. DOI 10.1007/s12210-016-0574-y.

[34] Ya-Nan Chang, Mingyi Zhang, Lin Xia, Jun Zhang and Gengmei Xing. “The Toxic Effects and Mechanisms of CuO and ZnO Nanoparticles”. Materials 5 (2012). 2850-2871 DOI:10.3390/ma5122850.

[35] Nayak, B. B., Dash, T., & Mishra, B. K. “Purple Coloured Natural Ruby: X-ray Photoelectron Spectroscopy, X-ray Diffraction, X-ray Tomography and Other Microstructural Characterizations. International Journal of Sciences”. Basic and Applied Research (IJSBAR) 25 (2016), 94–114.

[36] Anshuman Sahai, Navendu Goswami, S. D. Kaushik, Shilpa Tripathi. “Cu/Cu2O/CuO Nanoparticles: Novel Synthesis by Exploding Wire Technique and Extensive Characterization”. Applied Surface Science 390 )2016(, 974-983. DOI:10.1016/j.apsusc.2016.09.005.

[37] T. Ghodselahi, M.A. Vesaghi, A. Shafiekhani, A. Baghizadeh, M. Lameii. “XPS study of the Cu@Cu2O core-shell nanoparticles”. Applied Surface Science. 255  (2008), 2730-2734  Doi.org/10.1016/j.apsusc.2008.08.110.

[38] Muniratu Maliki, Ikhazuagbe H. Ifijen, Esther U. Ikhuoria, Eribe M. Jonathan, Gregory E. Onaiwu, Ukeme D. Archibong & Augustine Ighodaro. “Copper nanoparticles and their oxides: optical, anticancer and antibacterial properties”. International Nano Letters 12, (2022) 379-398. Doi.org/10.1007/s40089-022-00380-2.

[39] Kenneth Ssekatawa, Denis K. Byarugaba, Martin Kamilo Angwe, Eddie M. Wampande, Francis Ejobi, Edward Nxumalo, Malik Maaza, Juliet Sackey and John Baptist Kirabira. “Phyto-Mediated Copper Oxide Nanoparticles for Antibacterial, Antioxidant and Photocatalytic Performances”. Front Bioeng Biotechnol 10 (2022) 16:10:820218. Doi.org/10.3389/fbioe.2022.820218.

[40] Evelyn Assadian, Mohammad Hadi Zarei, Ali Ghanadzadeh Gilani, Mehrzad Farshin, Hamid Degampanah & Jalal Pourahmad. “Toxicity of Copper Oxide (CuO) Nanoparticles on Human Blood Lymphocytes”. Biol Trace Elem Res 184 (2018); 350-357 Doi.org/10.1007/s12011-017-1170-4.

[41] A. Muthuvel.M. Jothibas.C. Manoharan. “Synthesis of copper oxide nanoparticles by chemical and biogenic methods: photocatalytic degradation and in vitro antioxidant activity”. Nanotechnology for Environmental Engineering 5,14  (2020). Doi.org/10.1007/s41204-020-00078-w.

[42] Tiago José Marques Fraga , Caroline Maria Bezerra de Araújo , Maurício Alves da Motta Sobrinho, Marcos Gomes Ghislandi. “The role of multifunctional nanomaterials in the remediation of textile wastewaters”. The Textile Institute Book Series 5 (2021), 95-136 Doi.org/10.1016/B978-0-323-85829-8.00001-8.

[43] Simbongile Sicwetsha. Sindisiwe Mvango.Tebello Nyokong. Philani Mashaz. “Effective ROS generation and morphological effect of copper oxide nanoparticles as catalysts”. Journal of Nanoparticle Research 23 (2021): 227. DOI:10.1007/s11051-021-05334-x

[44] Surapaneni Meghana. Prachi Kabra. Swati Chakraborty band Nagarajan Padmavathy. “Understanding the pathway of antibacterial activity of copper oxide nanoparticles”. RSC Adv5. (2015), 12293. Doi.org/10.1039/C4RA12163E

[45] P.A.Prashantha, R.S. Raveendra, R. HariKrishnac, S. Anandad, N.P. Bhagyaa, B.M. Nagabhushanac, K. Lingaraju H. Raja Naika. “Synthesis, characterizations, antibacterial and photo luminescence studies of solution combustion derived Al2O3 nanoparticles”. Journal of Asian Ceramic Societies 3 (2015) 345–351. Doi.org/10.1016/j.jascer.2015.07.001

[46] Rajkumar Jana, Arka Dey, Mrinmay Das, Joydeep Datta, Pubali Das, Partha Pratim Ray. “Improving performance of device made up of CuO nanoparticles synthesized by hydrothermal over the reflux method”. Applied Surface Science 452 (2018) 15, 155-164 Doi.org/10.1016/j.apsusc.2018.04.262

[47] Sebastiano Di Bucchianico, Maria Rita Fabbrizi, Superb K. Misra, Eugenia Valsami-Jones, Deborah Berhanu, Paul Reip, Enrico Bergamaschi and Lucia Migliore. “Multiple cytotoxic and genotoxic effects induced in vitro by differently shaped copper oxide nanomaterials”. Mutagenesis 28 (2013); 28(3):287-99. Doi: 10.1093/mutage/get014.

[48] Elisa Fiume, Dilshat Tulyaganov, Graziano Ubertalli, Enrica Verné and Francesco Baino. “Dolomite-Foamed Bioactive Silicate Scaffolds for Bone Tissue Repair”. Materials 13. (2020);628-42. DOI:10.3390/ma13030628